# MASONRY LAB 1

# MASONRY CONSTRUCTION

# Objectives:

The objectives of this laboratory are to have students observe masonry construction and repeat the following laboratory tests and other masonry construction operations:

- Construct a masonry mini-wall of clay masonry units;

- Determination of Initial Rate of Absorption (IRA) for clay unit using simplified method;

- Proportion, batch and mix masonry mortar (types PCL and MC);

- Measure mortar workability by flow table;

- Measure mortar air content by pressure-meter method; and

- Construct prisms for subsequent compression and bond wrench testing.

# Students will work in groups of five.

# Part 1A:  Construct a masonry wall

1)  Pick up 4-6 brick for each member from the storage area and bring them to the structures lab.

2)  Bring the proportions for mixing Type S-PCL mortar to class.

Mixing instructions:

- Use a measuring device that can easily be filled to the same volume;

- Pre-blend cementitious materials (portland cement and lime);

- Wet mixer with handful of sand and water to keep cement from sticking to mixer sides;

- Use loose, damp sand;

- Add half of the sand prior to adding cement to the mixer;

- Use cement that is opened immediately or stored in an environment protected from moisture;

- Use cool, potable water; and

- Mix mortar for three to five minutes after all material is placed in the mixer.

3)  Construct a masonry wall using the prepared mortar.  Each group member must lay a minimum of 4 brick.  There should be at least three of the following brick orientations in your wall: stretcher; header; rowlock header; soldier; shiner and sailor.

4)  Take a picture of an elevation view of each constructed wall.  Each group member must turn in a picture of the wall labeling all brick orientations used.

- Each group is responsible for deconstructing the wall, cleaning the bricks used and returning them to the pallet.

# Part 1B:  Determine IRA using simplified field method

Each student in the group will:

1)  Place 20 drops of water in a quarter size area of a brick.  If it takes less than 90 seconds to absorb the water in the brick, the brick should be wetted prior to laying.

2)  Supply time results to each group member.  Report the results for each group member and calculate the average time and standard deviation for your group.

# Part 2A:  Proportion, Batch and Mix Mortar

1)	Proportion PCL mortar by volume for Type S.

Proportion MC mortar by volume.

Mixing instructions (repeated from above):

- Use a measuring device that can easily be filled to the same volume;

- Pre-blend cementitious materials (portland cement and lime);

- Wet mixer with handful of sand and water to keep cement from sticking to mixer sides;

- Use loose, damp sand;

- Add half of the sand prior to adding cement to the mixer;

- Use cement that is opened immediately or stored in an environment protected from moisture;

- Use cool, potable water; and

- Mix mortar for three to five minutes after all material is placed in the mixer.

# Part 2B:  Conduct Standard Mortar Tests

1)	Verify the initial flow of the mortar, using the flow table.

2)	Measure mortar air content by pressure-meter method.

3)	Report initial flow and air content.  Comment on values related to those mentioned in book.

# Part 2C:  Construct Prisms

Using masonry jigs, construct 2 stack-bonded prisms, 6 units high.  Construct one prism with PCL mortar, and one with MC mortar.  Each group should label both prisms and place a plastic bag over the specimen for curing.  The teaching assistant will move the prisms to the fog room and bring them to testing of Lab 3 for flexural bond strength.  These prisms will be used both for flexural bond testing and compressive strength testing.